## Slide 1: Workshop on Offshore Renewable Energy : the COREWIND project
October 2022
Dr. Jose Luis Domínguez-García
IREC – Project coordinator

## Slide 2
Starting Date: 01/09/2019 Ending Date: 28/02/2023
Duration: 42 month
Project webpage and social media profiles:
corewind.eu
@corewindeu
https://www.linkedin.com/company/corewind/
Project information
M36

## Slide 3: Project introduction
The COREWIND project provides disruptive and cost-effective solutions for floating offshore wind technology, leading to cost reduction, by developing innovative research, modelling and optimization for floating substructure concepts. This is achieved by developing research on the mooring and anchoring systems, power dynamic cables, O&M as well as digitalization, standardization and validation.
The project will achieve at least a 15% LCOE reduction by the end of the project (i.e. 100€/MWh approximately) through disruptive technologies and procedures for floating wind sector; paving the way for achieving future cost objectives earlier (i.e. ≈ 80 €/MWh by 2040, 10 years ahead expectations).
With special focus on 2 concrete-based floaters:
WindCrete and ActiveFloat

## Slide 4: Project partners and advisory board
External Advisory Board
Third Parties

## Slide 5: Project expected impacts and outcomes
Advanced numerical tools
Reference models:
  15 MW WT reference model
  2 floater (semi-sub & spar) models
Design and operation tools:
  1 BIM toolbox for floating wind industry
  1 Open and agnostic Digital Twin for floating wind
  1 O&M planning and assessment tool
Economic tools:
  1 LCOE and LCA calculation tool
  Floating Wind Farm optimization modules for cost minimization

## Slide 6
WP1: Efficient design tools for floating wind turbines
OpenFAST model
IEA Wind 15MW RNA
Mooring system
Tuned ROSCO controller
WindCrete (floater +tower)
Load assessment for shared anchors
Shared mooring lines
Floater upscaling model

## Slide 7
WP2: Design and optimization of station keeping systems
West of Barra
Optimized mooring:
Optimisation tool developed
Model set up
Design criteria verification
Motions (excursions & angles) & accelerations calculations
Costs estimation
Objective: minimize costs
Constraints: criteria satisfied & limited motions/acceleration
Design parameters (diameters, line length, steel grade, etc.)
Python interface
Parameters configuration (Boundaries, Initial Values, etc.)
Environmental conditions
Mooring configuration (Number of Lines, Materials, Number of Sections, etc.)
Orcaflex model definition
Isight model configuration
Isight Optimization
Orcaflex simulation
FAST model definition
FAST simulation
Gran Canaria
Morro Bay
Peak Load reduction:

## Slide 8
WP3: Dynamic Cable Design optimization
Preliminary Estimations:
Optimisation of layout
Equipment:
Bend restriction
Buoyancy modules
Hold Back Tether
Fatigue Evaluation and modelling

## Slide 9
WP4: Optimizing O&M Strategies and Installation Techniques
Workability Assessment:
Digital Models
Vessel comparison for O&M:
SemiSub
MonoHull
BIM model
(based on
RamView360)
Model
and
MPC
Machine Learning
For O&M DigitalTwin
90°
90°
N
270°
90°
180°
0°
Workability Index of ActiveFloat concept. Green: Sea states fulfilling acceptance criteria. Red: Sea states not fulfilling acceptance criteria.
Diagram showing possible weather window for tow-in of Windcrete concept. Green: Sea states fulfilling acceptance criteria. Red: Sea states not fulfilling acceptance criteria.

## Slide 10
WP5: Experimental testing
Flume Testing
Field Testing of materials
Dynamic Cable
coating
Mooring chain

## Slide 11
WP5: Experimental testing
Experimental tests:
Field Testing of materials
Dynamic
Cable
coating
Mooring chain

## Slide 12
WP6: LCOE analysis & Life Cycle Assessment

## Slide 13
WP6: LCOE analysis & Life Cycle Assessment
4 turbines – 60 MW
20 turbines – 300 MW
80 turbines – 1.2 GW
Chart: 
| 1A | 2A | 3A | 4A | 4W | 5A | 5W | 6A | 6W | 7A | 7W | 8A | 8W | 9A | 9W
Capacity factor | 22.85 | 22.36 | 21.93 | 70.7 | 70.7 | 67.91 | 67.91 | 66.55 | 66.55 | 46.49 | 46.35 | 43.31 | 43.96 | 42.21 | 42.99
Chart: 
| 1A | 2A | 3A | 4A | 4W | 5A | 5W | 6A | 6W | 7A | 7W | 8A | 8W | 9A | 9W
LCOE [€/MWh] | 254.4 | 244.7 | 243.3 | 63.3 | 63.7 | 62.1 | 62.8 | 63.7 | 64.4 | 121.8 | 119.5 | 125.4 | 121.3 | 122.2 | 117.9
GWP [kg CO2 eq/MWh] | 41.7 | 42.4 | 43.1 | 8 | 9.8 | 8.2 | 10.2 | 8.5 | 10.5 | 13 | 13.8 | 13.9 | 14.5 | 14 | 14.6

## Slide 14: Where to find our results and outputs
Public Deliverables and other reports:
  They can be found at: http://corewind.eu/publications/
  https://zenodo.org/communities/corewind/?page=1&size=20 (including some papers)
Public models (available under different CC licenses):
https://zenodo.org/communities/corewind/?page=1&size=20
  UPC-WindCRETE OpenFAST – Grand Canary Island
  COREWIND - ACTIVEFLOAT OpenFAST model 15 MW FOWT Grand Canary Island site
  Other locations to come soon

## Slide 15: Join the conversation #corewind
Stay tuned and follow us for updates
https://twitter.com/corewindeu
https://www.linkedin.com/company/corewind/